## Table 1
MAIN BOUNDRY WALL SCHOOL BUILDING SIDE ( 1098 RFT )
ENGINEER'S ESTIMATE
S.No | DESCRIPTION OF WORKS | AMOUNT IN PAK. RUPEES
|  | NON SCHEDULE ITEM ( RS ) | AMOUNT ( RS ) | TOTAL COST (RS)
A | MAIN BOUNDRY WALL SCHOOL BUILDING SIDE ( 1098 RFT )
1 | CIVIL WORKS | 0 |  | 0
1 | MIAN GATE & GUARD ROOM | 0 |  | 0
| Sub - Total A |  |  | 0
| IN MILLION : |  |  | 0
Page 1 of 28

## Table 2
BASED ON PREVAILING MARKET RATES
BOUNDRY WALL
S.No. | Schedule Item | Description of Items | Quantity | Unit | Rate (Rs) | Amount (Rs)
1 |  | Excavation in foundation of buildings and bridges including layout, dressing, refilling around structures with excavated earth, watering & ramming lead upto 100 ft. (30m) & lift upto 5 ft. (1.5m)( Shingle or gravel )
| NSR | GROUND FLOOR | 10289.51 | CFT |  | 0
2 |  | Providing and laying plain hand mixed 1:4:8 cement concrete using sand approved source and crushed aggregate having maximum size upto 1-1/2" (38mm) & down gauge in foundation and plinth including leveling, compacting & curing.
| NSR | GROUND FLOOR | 857.46 | CFT |  | 0
3 |  | Providing, fabricating and laying deformed Grade 60 steel reinforcement (deformed bar) for all kinds of R.C.C work in foundation, plinth and ground floor including the cost of straightening, removal of rust, cutting, bending, binding, wastage and providing such over-laps as are not shown on the drawings. The cost of binding wire and cement concrete spacer blocks or chairs for binding and holding the reinforcement in position is inclusive upto 15 ft. (5m) height
| NSR | GROUND FLOOR | 16.6 | TON |  | 0
4 |  | Providing and laying in situ cement concrete (1;2;4 cement sand & crush ) using approved coarse sand and crushed aggregate having maximum size upto 3/4" (19mm) and down gauge in foundation including formwork using wooden braces and without wall ties, compaction, curing and removal of formwork
| NSR | GROUND FLOOR | 2652.56 | CFT |  | 0
5 |  | Providing and laying first class solid burnt brick masonry with Cement sand 1 : 4 ( Brick Strength1800 psi-2000 psi) Including scaffolding, raking out joints and curing in foundation and substructure /Basement i/c cost of testing
| NSR | above 4.5mm thick | 3571.77 | CFT |  | 0
6 |  | Providing and laying in situ cement concrete 1:2:4 cement concrete using crush stone using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in pillars and columns of any shape in foundation including compacting, curing, cost of form-work & its removal in basement and ground floor.
| NSR | GROUND FLOOR | 545.73 | CFT |  | 0
7 |  | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm.) and down gauge in plinth band, door band and roof band of required shape or section including formwork and its removal, compacting and curing in basement and ground floor but excluding the cost of reinforcement.
| NSR | GROUND FLOOR | 926.44 | CFT |  | 0
0

## Table 3
BOUNDRY WALL
S.No. | Schedule Item | Description of Items | Quantity | Unit | Rate (Rs) | Amount (Rs)
8 |  | Providing and laying first class solid burnt brick masonry (Brick Strength:1800psi-2000psi) including scaffolding, raking out joints and curing in ground floor superstructure and i/c cost of testing above 4.5" with 1;4 cement ratio
| NSR | GROUND FLOOR | 5903.16 | CFT |  | 0
9 |  | Providing and laying in situ cement concrete 1:2:4 cement concrete using crush stone using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in pillars and columns of any shape in foundation including compacting, curing, cost of form-work & its removal in basement and ground floor.
| NSR | GROUND FLOOR | 940.74 | CFT |  | 0
10 |  | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in precast shelves coping, cornices, eave boards, hood, fencing posts and manhole covers etc. including formwork & its removal, compacting and curing in ground floor.
| NSR | GROUND FLOOR | 362.34 | CFT |  | 0
11 |  | 3/4 inch (19mm) thick cement plaster using Coarse Sand 1:4 cement mortar ratio on Internal walls and columns in basement, plinth and ground floor including making edges, corners and curing.
| NSR | GROUND FLOOR | 21942.43 | SFT |  | 0
12 |  | Applying weather resistant paint coating such as ICI weather shield,Berger weather coat or equivalent to interior or exterior walls or ceiling including supplying all labour, materials, scaffoldings and removal of debris etc. @ atleast 3.50 litre per 10
| NSR | GROUND FLOOR | 21942.43 | SFT |  | 0
13 |  | Providing and fixing Double GI Razor wire fencing with 4 horizontal wires Spiral Type 12 SWG Sprial Wire and 26 SWG Lipping Blade 3" Pitch with four Horizontal Wire 20 SWG.
| NSR | GROUND FLOOR | 1098 | Rft |  | 0
14 |  | Providing M.S. Tees, angles and flats including fixing in position.
| NSR | GROUND FLOOR | 1006.1 | KG |  | 0
TOTAL AMOUNT in Rs. | [5 empty] | 0
G-Total in Rs. | [5 empty] | 0

## Table 4
BASED ON PREVAILING MARKET RATES
BOUNDRY WALL DETAIL MEASURMENT SHEET
S. No | Description | No | MEASUREMENT |  |  | QTY | UNIT
|  |  | L | B | H/D
1 | Excavation in foundation of buildings and bridges including layout, dressing, refilling around structures with excavated earth, watering & ramming lead upto 100 ft. (30m) & lift upto 5 ft. (1.5m)( Shingle or gravel )
|  | 1 | 1098 | 2.5 | 3 | 8235 | CFT
|  | 114 | 4 | 1.5 | 3 | 2054.51 | CFT
| TOTAL QUANTITY |  |  |  |  | 10289.51 | CFT
2 | Providing and laying plain hand mixed 1:4:8 cement concrete using sand approved source and crushed aggregate having maximum size upto 1-1/2" (38mm) & down gauge in foundation and plinth including leveling,
P |  | 1 | 1098 | 2.5 | 0.25 | 686.25 | CFT
|  | 114 | 4 | 1.5 | 0.25 | 171.21 | CFT
| TOTAL QUANTITY |  |  |  |  | 857.46 | CFT
3 | Providing, fabricating and laying deformed Grade 60 steel reinforcement (deformed bar) for all kinds of R.C.C work in foundation, plinth and ground floor including the cost of straightening, removal of rust, cuttin
| IN FOUNDATION | 8 | 1098 | 0.667 | 0.4536 | 2657.61 | KG
| RINGS 9" C/C | 1464 | 6.16 | 0.375 | 0.4536 | 1534 | KG
|  | 2283 | 4.75 | 0.667 | 0.4536 | 3280.64 | KG
| IN PLINTH BEND | 8 | 1098 | 0.667 | 0.4536 | 2657.61 | KG
| RINGS 9" C/C | 1464 | 3.84 | 0.375 | 0.4536 | 956.26 | KG
| IN COPPING | 2 | 1098 | 0.667 | 0.4536 | 664.4 | KG
| RINGS 9" C/C | 1464 | 2.5 | 0.375 | 0.4536 | 622.57 | KG
| COLUMNS | 685 | 10 | 1.042 | 0.4536 | 3236.89 | KG
| RINGS IN COLUMNS | 1598 | 3.66 | 0.375 | 0.4536 | 994.83 | KG
| TOTAL QUANTITY |  |  |  |  | 16604.81 | KG
[6 empty] | 16.6 | TON
4 | Providing and laying in situ cement concrete (1;2;4 cement sand & crush ) using approved coarse sand and crushed aggregate having maximum size upto 3/4" (19mm) and down gauge in foundation including formwork using wooden braces and without wall ties, comp
|  | 1 | 1098 | 2 | 1 | 2196 | CFT
|  | 114 | 4 | 1 | 1 | 456.56 | CFT
| TOTAL QUANTITY |  |  |  |  | 2652.56 | CFT
5 | Providing and laying first class solid burnt brick masonry with Cement sand 1 : 4 (Brick Strength1800psi-2000psi) Including scaffolding, raking out joints and curing in foundation and substructure /Basement i/c cost of testing
1st step
|  | 1 | 1098 | 1.5 | 1 | 1647 | CFT
|  | 114 | 1.5 | 1.5 | 1 | -256.81 | CFT
2ND step
|  | 1 | 1098 | 1.125 | 2 | 2470.5 | CFT

## Table 5
BOUNDRY WALL DETAIL MEASURMENT SHEET
S. No | Description | No | MEASUREMENT |  |  | QTY | UNIT
|  |  | L | B | H/D
|  | 114 | 1.13 | 1.125 | 2 | -288.92 | CFT
| TOTAL QUANTITY |  |  |  |  | 3571.77 | CFT
6 | Providing and laying in situ cement concrete 1:2:4 cement concrete using crush stone using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in pillars and columns of any shape in foundation including compacting, curing, cost of form-
|  | 114 | 1.5 | 1.5 | 1 | 256.81 | CFT
|  | 114 | 1.125 | 1.125 | 2 | 288.92 | CFT
| TOTAL QUANTITY |  |  |  |  | 545.73 | CFT
7 | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm.) and down gauge in plinth band, door band and roof band of required shape or section including formwork and its removal, compacting and curing in basem
|  | 1 | 1098 | 1.125 | 0.75 | 926.44 | CFT
| TOTAL QUANTITY |  |  |  |  | 926.44 | CFT
8 | Providing and laying first class solid burnt brick masonry (Brick Strength:1800psi-2000psi) including scaffolding, raking out joints and curing in ground floor superstructure and i/c cost of testing above 4.5" with 1;4 cement ratio
|  | 1 | 1098 | 0.75 | 8 | 6588 | CFT
|  | 114 | 1 | 0.75 | 8 | -684.84 | CFT
| TOTAL QUANTITY |  |  |  |  | 5903.16 | CFT
9 | Providing and laying in situ cement concrete 1:2:4 cement concrete using crush stone using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in pillars and columns of any shape in foundation including compacting, curing, cost of form-
|  | 114 | 1 | 1 | 8.24 | 940.74 | CFT
| TOTAL QUANTITY |  |  |  |  | 940.74 | CFT
10 | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in balustrade of stairs or balcony, sun breakers, sun shades, parapets and eave boards upto 3" (75 mm) of required shape or section
|  | 1 | 1098 | 1 | 0.33 | 362.34 | CFT
| TOTAL QUANTITY |  |  |  |  | 362.34 | CFT
11 | 1/2 inch (13mm) thick cement plaster using Coarse Sand 1:4 cement mortar ratio on external walls and columns in basement, plinth and ground floor including Extra if deep cut grooves of approved size and design are made on plastered surface of any descript
|  | 2 | 1098 |  | 9.74 | 21393.43 | SFT

## Table 6
BOUNDRY WALL |  |  |  | DETAIL MEASURMENT SHEET
S. No | Description | No | MEASUREMENT |  |  | QTY | UNIT
|  |  | L | B | H/D
| COPING | 2 | 1098 |  | 0.25 | 549 | SFT
| TOTAL QUANTITY |  |  |  |  | 21942.43 | SFT
12 | Applying weather resistant paint coating such as ICI weather shield,Berger weather coat or equivalent to interior or exterior walls or ceiling including supplying all labour, materials, scaffoldings and removal of debris etc. @ atleast 3.50 litre per 10
| SAME QTY OF PLASTER 3./4" THICK |  |  |  |  | 21942.43 | SFT
| TOTAL QUANTITY |  |  |  |  | 21942.43 | SFT
13 | Providing and fixing Double GI Razor wire fencing with 4 horizontal wires Spiral Type 12 SWG Sprial Wire and 26 SWG Lipping Blade 3" Pitch with four Horizontal Wire 20 SWG.
| MAIN ENTERANCE GATE | 1 | 1098 |  |  | 1098 | Rft
| TOTAL QUANTITY |  |  |  |  | 1098 | Rft
14 | Providing M.S. Tees, angles and flats including fixing in position.
|  | 1 | 275 | 1.96 | 1.87 | 1006.1 | Kg
| TOTAL QUANTITY |  |  |  |  | 1006.1 | Kg

## Table 7
CIVIL WORKS |  |  | MAIN GATE WITH GUARD ROOM AT JHAL MAGSI BASED ON PREVAILING MARKET RATES
S.# | SCHEDULE ITEM # | DESCRIPTION OF ITEMS |  | QUANTITY | UNITE | RATES | AMOUNT (RS)
1 |  | EARTH WORKS
1 |  | Clearing the Site / jungle by cutting removing ,all shrubs ,trees and taking out entire roots and filling the hollows with earth dressing consolidation and watering the filling including stacking the serviceable material and disposal of unserviceable material lead up to 300 meters.
| NSR | GROUND FLOOR |  | 720 | SFT |  | 0
2 |  | Excavation in foundation of buildings and bridges including layout, dressing, refilling around structures with excavated earth, watering & ramming lead upto 100 ft. (30m) & lift upto 5 ft. (1.5m)( Shingle or gravel )
| NSR | GROUND FLOOR |  | 2417 | CFT |  | 0
P
3 |  | Filling, watering and compacting earth under floors in layers not exceeding 8 inchs in thickness With new earth excavated from outside, lead upto 100 ft. (30m) and lift upto 5 ft. (1.5m) including royality of Clay
| NSR | GROUND FLOOR |  | 1038 | CFT |  | 0
4 |  | Filling, watering and compacting earth under floors in layers not exceeding 8 inchs in thickness With surplus earth from foundation etc.
| NSR | GROUND FLOOR |  | 778.5 | CFT |  | 0
2 |  | PLAIN CEMENT CONCRATE WORKS IN FOUNDATION
1 |  | Providing and laying plain hand mixed 1:4:8 cement concrete using sand approved source and crushed aggregate having maximum size upto 1-1/2" (38mm) & down gauge in foundation and plinth including leveling, compacting & curing.
| NSR | GROUND FLOOR |  | 127.88 | CFT |  | 0
3 |  | STELL REINFORCMENT WORKS
1 |  | Providing, fabricating and laying deformed Grade 60 steel reinforcement (deformed bar) for all kinds of R.C.C work in foundation, plinth and ground floor including the cost of straightening, removal of rust, cutting, bending, binding, wastage and providing such over-laps as are not shown on the drawings.The cost of binding wire and cement concrete spacer blocks or chairs for binding and holding the reinforcement in position is inclusive upto 15 ft. (5m) height
| NSR | GROUND FLOOR
|  | Total |  | 5.921 | TON |  | 0
3 |  | Providing and fixing iron grill required section of square bars 3/8" as per approved design including welding all sides of the section at the junction and fixing with sunk iron screws painting with two coats of read oxides paint in masonry or concrete .
| NSR | GROUND FLOOR |  | 32 | SFT |  | 0
4 |  | REINFORCMENT CEMENT CONCRATE IN FOUNDATION WORKS UP TO PLINTH BEAM
1 |  | Providing and laying in situ cement concrete (1;2;4 cement sand & crush ) using approved coarse sand and crushed aggregate having maximum size upto 3/4" (19mm) and down gauge in foundation including formwork using wooden braces and without wall ties, compaction, curing and removal of formwork
| NSR | GROUND FLOOR |  | 4281.5 | CFT |  | 0
2 |  | Providing and laying in situ cement concrete 1:2:4 cement concrete using crush stone using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in pillars and columns of any shape in foundation including compacting, curing, cost of form work & its removal in basement and ground floor.
| NSR | GROUND FLOOR |  | 81.21 | CFT |  | 0
3 |  | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm.) and down gauge in plinth band, door band and roof band of required shape or section including formwork and its removal, compacting and curing in basement and ground floor but excluding the cost of reinforcement.
| NSR | GROUND FLOOR |  | 437 | CFT |  | 0
5 |  | IN FOUNDATION WORKS
1 |  | Providing and laying 1:3:6 in situ cement concrete using approved coarse sand and crushed aggregate having maximum size upto 1-1/2 " (38mm) and down gauge in foundation including formwork and its removal, compaction and curing .
| NSR | GROUND FLOOR |  | 1089.49 | CFT |  | 0
5 |  | MASONARY IN SUPER STRUCTER WORKS
1 |  | Providing and laying first class solid burnt brick masonry with Cement sand 1 : 4 (Brick Strength:1800psi-2000psi) including scaffolding, raking out joints and curing in foundation and substructure /Basement i/c cost of testing
| NSR | GROUND FLOOR |  | 1769.24 | CFT |  | 0
6 |  | REINFORCMENT CEMENT CONCRATE IN SUPER STRUCTER WORKS
1 |  | Providing and laying in situ cement concrete 1:2:4 cement concrete using crush stone using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in pillars and columns of any shape in foundation including compacting, curing, cost of form work & its removal in basement and ground floor.
| NSR | GROUND FLOOR |  | 405.9 | CFT |  | 0
2 |  | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm.) and down gauge in Door band, door band and roof band of required shape or section including formwork and its removal, compacting and curing in basement and ground floor but excluding the cost of reinforcement.
| NSR | GROUND FLOOR |  | 62.33 | CFT |  | 0
3 |  | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in beams, lintels and cantilevers of required shape or section including formwork and its removal compacting and curing in basement and ground floor.
| NSR | GROUND FLOOR |  | 585 | CFT |  | 0
4 |  | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in slabs including formwork and its removal, compacting and curing upto 6" (150 mm) thickness In basement, plinth and ground floor
| NSR | GROUND FLOOR |  | 566.63 | CFT |  | 0
7 |  | PLASTER WORKS
1 |  | 3/4 inch (19mm) thick cement plaster using Coarse Sand 1:4 cement mortar ratio on walls and columns in basement, plinth and ground floor including making edges, corners and curing.
| NSR | GROUND FLOOR |  | 1306 | SFT |  | 0
2 |  | 1/2 inch (13mm) thick cement plaster using Coarse Sand 1:4 cement mortar ratio on external walls and olumns in basement, plinth and ground floor including making edges, corners with deep cut groves and curing.
| NSR | GROUND FLOOR |  | 459 | SFT |  | 0
3 |  | 13mm ( 1/2") Cement plaster using Coarse Sand 1:4 cement mortar ratio on soffits of ceiling, cantilever slabs, sides and soffits of beams, in basement and ground floor including making edges, corners and curing.
| NSR | GROUND FLOOR |  | 1113 | SFT |  | 0
8 |  | FLOORING WORKS
1 |  | Providing and laying hand mixed 1 : 4 : 8 cement concrete bed under floors using graded Crushed Aggregate upto 1-1/2" (37 mm) and down gauge complete with leveling, ramming, watering and curing.
| NSR | GROUND FLOOR |  | 16 | CFT |  | 0
2 |  | Providing and laying 1:2:4 cement concrete 3" (75 mm) nominal thick flooring using crushed aggrgate 3/4" (19mm) and down gauge in ground floor laid in panels including formwork, consolidation, finishing and curing.
| NSR | GROUND FLOOR |  | 15.75 | SFT |  | 0
9 |  | PAINTING WORKS
1 |  | Painting with ICI/Berger or equivalent plastic emulsion paint of approved shade in two or more coats as per manufacturer's instructions on plastered rendered and/or concrete surface over and including the cost of priming coat ,surface preparation, dusting, rubbing down smooth,filling cracks, holes removing blisters and other blisters and other imperfections in ground floor or basement.(@ atleast 1.65 Litre per10 Sq.m)
| NSR | GROUND FLOOR |  | 267 | SFT |  | 0
2 |  | Distempering with Berger, ICI or equivalent synthetic polyvinyl emulsion finish of approved shade in two or more coats over and including the cost of priming coat including preparation of surface viz. dusting, sand papering or rubbing with pumice stone, filling cracks or holes, if any, removing blisters or other imperfections at any height and any floor. (@ atleast 2.20 Litre per 10 Sq.m)
| NSR | GROUND FLOOR |  | 1113 | SFT |  | 0
3 |  | Applying weather resistant paint coating such as ICI weather shield,Berger weather coat or equivalent to interior or exterior walls or ceiling including supplying all labour, materials, scaffoldings and removal of debris etc. @ atleast 3.50 litre per 10
| NSR | GROUND FLOOR |  | 1450 | SFT |  | 0
| NSR | FIRST FLOOR |  | 300 | SFT |  | 0
4 |  | Painting with ICI/Berger or equivalent super gloss synthetic enamel paint in two or more coats as per manufacturer's instructions on steel and iron work over and including the cost of priming coat, surface preparation, removing rust, scales and dust with wire brush in ground floor or basement. (@ atleast 1.25 Litrer per10 Sq.m)
| NSR | GROUND FLOOR |  | 184 | SFT |  | 0
5 |  | Painting with ICI/Berger or equivalent super gloss synthetic enamel paint in two or more coats as per manufacturer's instructions on wood work over and including the cost of priming coat, surface preparation, rubbing down smooth, knotted, filling cracks, holes and joints in ground floor or basement. (@ atleast 1.65 Litre per 10 Sq.m)
| NSR | GROUND FLOOR |  | 42 | SFT |  | 0
1 |  | Applying french or spirit polish of approved make on wood work in ground floor or basement Two coats (@ atleast 1.65 Litre per 10 Sq.m)
| NSR | GROUND FLOOR |  | 21 | SFT |  | 0
10 |  | EXTERNAL AND INTERNAL FACING WORKS ( DADO & SKIRTING )
11 |  | WINDOWS & DOOR WORKS
3 |  | Providing and fixing Flush wood shutters 1.5" (38 mm) thick fully panelled shutters. with same wood and fixed with approved brass hinges and tower bolts.
| NSR | GROUND FLOOR |  | 21 | SFT |  | 0
4 |  | Providing and fixing moulded steel door frame 4.5''-5" (113.5mm-125 mm) size of approved profile, manufactured from zinc-coated mild steel sheets 18 gauge made by Shahah Industries or equivalent standard conforming to B.S.S.1245, treated with special primer base paint all round, fitted with six fixing lugs, three steel hinges for fixing door shutters standard lock-strike plate, one sliding holt eye, and three rubber buffers, including cutting holes and making good damages to walls and filling the door frame cavity with lean cement mortar 1:4 as directed by the Engineer Incharge
| NSR | GROUND FLOOR |  | 17 | RFT |  | 0
5 |  | Providing and fixing fully glazed single leaf hung/sliding aluminium windows, ventilators (local - 1.6mm) of anodized champagne or approved color of Prime, Chawala, Pakistan Cable or any approved section as approved by Engineer incharge including sliding fibre wire gauze in aluminium frame, aluminium fittings, 5 mm local tinted glass, lugs, cutting holes and making good the damages to walls. Providing and fixing fixed or sliding fibre wire gauze in aluminium frame as approved by Engineer incharge including aluminium fittings etc.
| NSR | GROUND FLOOR |  | 32 | SFT |  | 0
6 |  | Providing and fixing Union lock (Local) with brass or specially supplied screws of approved design including cutting wood to requires shape and size with two operating keys as per direction of the engineer - in charge.
| NSR | GROUND FLOOR |  | 1 | each |  | 0
7 |  | Providing and fixing approved Chromium plated 5" (125 mm) size heavy duty safety handle with necessary screws of the same metal
| NSR | GROUND FLOOR |  | 2 | each |  | 0
8 |  | Providing and fixing M.S. sheet shutters with 2" x 2" x 1/4"angle iron frame as diagonal braces, gun metal roller and pulleys, angle iron top guides fixed to T-iron bottom track fixed in cement concrete 1:2:4 with rag bolts including locking arrangement and handles as per design and instructions of the Engineer incharge.
| NSR | GROUND FLOOR |  | 304 | KG |  | 0
12 |  | MISC WORKS
1 |  | Providing and laying 1:2:4 P.C.C 3" (75mm) nominal thick P.C.C. roof screeding using crushed stone 3/4" (19mm) including formwork, consolidation, finishing and curing
| NSR | 2ND FLOOR |  | 169.25 | SFT |  | 0
2 |  | Providing and fixing Non Asbestos Cement Fibre pipe spouts 3" (75 mm) dia of required length and dia including fixing in cement mortar 1 : 4.
| NSR | GROUND FLOOR |  | 20 | RFT |  | 0
TOTAL | [6 empty] | 0

## Table 8
BASED ON PREVAILING MARKET RATES
ENGINEER'S ESTIMATE
ELECTRICAL WORKS |  |  | MAIN GATE WITH GUARD ROOM AT JHAL
S. No | SCHEDULE ITEM | DESCRIPTION OF ITEMS | QUANTI TY | UNIT | RATE (RS) | AMOUNT (RS)
1 |  | Light circuit concealed / open wiring with length upto 75 ft. (25m) from distribution board to point/switch with 3x2.5 Sq.mm PVC insulated single core copper conductor Pakistan Cables, Pioneer, Newage or approved equivalent cables for offices/multi storeyed buildings. ( Concealed wiring with 3/4" 20 (mm ) dia. PVC conduit and accessories such as bends, elbows, junction boxes etc. )
| NSR |  | 2 | Point |  | 0
2 |  | Concealed / open wiring from point to switch with length upto 30 ft. (10m) including any switch to switch wiring with 3x1.5 Sq.mm PVC insulated single core copper conductor Pakistan Cables, Pioneer, Newage or approved equivalent cables, ( Concealed wiring with 3/4" 20 (mm ) dia. PVC conduit and accessories such as bends, elbows, junction boxes etc. )
| NSR |  | 2 | Point |  | 0
3 |  | Concealed/open wiring for 5 Amp. Socket outlets from nearest available circuit with a length upto 20 ft. (6m) with 3x1.5 Sq.mm PVC insulated single core copper conductor Pakistan Cables, Pioneer, Newage or approved equivalent cables. (Concealed wiring with 3/4" -20 mm) dia. PVC conduit and accessories such as bends, elbows, junction boxes etc)
| NSR |  | 4 | Point |  | 0
4 |  | Supply and install 4-gang, 5 Amp, 250 Volt,. plate type mouldedn switch including appropriate size plastic box to be fixed recessed I wall.
P | NSR |  | 2 | No. |  | 0
5 |  | Supply and install combined 2/3 pin 5 Amps, 250 Volt switch socket unit including plastic box to be fixed recessed in wall.
| NSR |  | 2 | No. |  | 0
6 |  | Supply and installation of 1" (25mm) dia PVC concealed conduit including all accessories such as bends, elbows etc.
| NSR |  | 100 | R.ft. |  | 0
7 |  | Supply and installation of 1.5" (40mm) dia PVC Conduit including all accessories such as bends, elbows etc.
| NSR |  | 100 | R.ft. |  | 0
8 |  | Supply and install 10 sq.mm PVC insultated single core 600/1000V.cable with copper conductor in already concealed PVC conduit.2 x 10 sqmm for DB Supply .
| NSR |  | 50 | R.ft. |  | 0
0

## Table 9
ELECTRICAL WORKS |  |  | MAIN GATE WITH GUARD ROOM AT JHAL
S. No | SCHEDULE ITEM | DESCRIPTION OF ITEMS | QUANTI TY | UNIT | RATE (RS) | AMOUNT (RS)
9 |  | Supply and install 56" (1.42 m) sweep ceiling fan with fan hook and dimmer complete with all accessories.
| NSR |  | 1 | Each |  | 0
10 |  | Wiring of bell point length upto 50 ft (15m) including supply of bell and bell push, 3x1.5 Sq.mm PVC insulated single core copper conductor cable in concealed PVC 3/4" (20mm) dia. conduit and wiring accessories such as elbows, bends, junction boxes, etc
| NSR |  | 1 | Each |  | 0
11 |  | Supply and install single arm fancy wall bracket comprising brass bracket, apple white cylinderical glass shade, lamp holder with 100W lamp.
| NSR |  | 4 | Each |  | 0
12 |  | Supply and install 10" (250 mm) sweep exhaust fan including plastic louvers.
| NSR |  | 0 | Each |  | 0
13 |  | Supply and install of OVC Plastic Light holder including White base plate
| NSR |  | 50 | Each |  | 0
14 |  | Supply and install Energy Saver electric bulbs (25W Philips energy saver)
| NSR |  | 8 | Each |  | 0
15 |  | Supply ,Installing ,Connection of Single Pole Circuit Breaker 16 Ampere
| NSR |  | 1 | Each |  | 0
16 |  | Supply ,Installing ,Connection of 2 Pole Circuit Breaker 50 Ampere
| NSR |  | 1 | Each |  | 0
17 |  | Provide, install, test and commission recessed wall mounting type distribution board fabricated from 16 SWG steel sheet, powder coated with approved color 2'x2'x1.5'
| NSR |  | 1 | Each |  | 0
0
TOTAL | [5 empty] | 0

## Table 10
S. No | Description | No | MEASUREMENT |  |  | QTY | UNIT | REMARKS
|  |  | L | B | H/D
CIVIL WORKS
1 | Clearing the Site / jungle by cutting removing ,all shrubs ,trees and taking out entire roots and filling the hollows with earth dressing consolidation and watering the filling including stacking the serviceable material and disposal of unserviceable material lead up to 300 meters.
|  | 1 | 720 |  |  | 720 | SFT
| TOTAL QUANTITY |  |  |  |  | 720 | SFT
2 | Excavation in foundation of buildings and bridges including layout, dressing, refilling around structures with excavated earth, watering & ramming lead upto 100 ft. (30m) & lift upto 5 ft. (1.5m)( Shingle or gravel )
b | WALL FOUNDATION
H/W
1 | A & B/1-6 | 2 | 63.5 | 4 | 3.5 | 1778 | CFT | L/W
V/W
1 | 1 , 2,3,5 & 6/A-B | 6 | 7.25 | 4 | 3.5 | 609 | CFT | S/W
| TOTAL QUANTITY |  |  |  |  | 2417 | CFT
3 | Filling, watering and compacting earth under floors in layers not exceeding 8 inchs in thickness With new earth excavated from outside, lead upto 100 ft. (30m) and lift upto 5 ft. (1.5m) including royality of Clay
1 | ROOM | 1 | 9 | 7 |  | 63 | SFT
5 | MAIN GATES | 2 | 19 | 12 |  | 456 | SFT
|  |  |  | TOTAL SFT |  | 519 | SFT
| SFT CHANGE IN TO CFT | 1 | 519 |  | 2 | 1038 | CFT
| TOTAL QUANTITY |  |  |  |  | 1038 | CFT
4 | Filling, watering and compacting earth under floors in layers not exceeding 8 inchs in thickness With surplus earth from foundation etc.
|  | 1 | 519 |  | 1.5 | 778.5 | CFT
| TOTAL QUANTITY |  |  |  |  | 778.5 | CFT
2 | PLAIN CEMENT CONCRATE WORKS IN FOUNDATION
1 | Providing and laying plain hand mixed 1:4:8 cement concrete using sand approved source and crushed aggregate having maximum size upto 1-1/2" (38mm) & down gauge in foundation and plinth including leveling, compacting & curing.
b | WALL FOUNDATION
H/W
1 |  | 2 | 63.5 | 3 | 0.25 | 95.25 | CFT | L/W
2
V/W
1 |  | 6 | 7.25 | 3 | 0.25 | 32.63 | CFT | S/W
2
| TOTAL QUANTITY |  |  |  |  | 127.88 | CFT
3 | STELL REINFORCMENT WORKS
1 | Providing, fabricating and laying deformed Grade 60 steel reinforcement (deformed bar) for all kinds of R.C.C work in foundation, plinth and ground floor including the cost of straightening, removal of rust, cutting, bending, binding, wastage and providing such over-laps as are not shown on the drawings.The cost of binding wire and cement concrete spacer blocks or chairs for binding and holding the reinforcement in position is inclusive upto 15 ft. (5m) height
| IN FOUNDATION |  | BAR BENDING SCHADULE
H/W
1 |  | 21 | 64.17 |  |  | 1368.96 | RFT | L/W
2 | 0 | 86 | 16 |  |  | 1368.96 | RFT
1 |  | 0 | 12.25 |  |  | 0 | RFT | S/W
2 | 0 | 0 | 3.38 |  |  | 0 | RFT | 0
|  |  |  | TOTAL IN RFT |  | 2737.92 | RFT
|  | 2 | 2737.92 | 0.667 | 0.4536 | 1656.72 | KG | 4/8"
|  |  |  | SUB TOTAL (i) |  | 1656.72 | KG
COL STEEL up to PLINTH LEVEL
| C1 | 8X10 | 8 | 1.042 | 0.4536 | 302.4 | KG | 5/8"
| C2 | 2X4 | 6 | 1.042 | 0.4536 | 45.36 | KG | 5/8"
COL STEEL UP TO ROOF LEVEL
| C1 | 8X10 | 19 | 1.042 | 0.4536 | 718.2 | KG | 5/8"
| C1 | 2X4 | 10 | 1.042 | 0.4536 | 75.6 | KG | 5/8"
|  |  |  | SUB TOTAL (iii) |  | 1141.56 | KG
RING IN COLUMNS
| C1 | 8X30 | 5.9 | 0.375 | 0.4536 | 240.86 | KG | 3/8"
| C1 | 2X 16 | 2.82 | 0.375 | 0.4536 | 15.35 | KG
|  |  |  | SUB TOTAL (iv) |  | 256.21 | KG
| TOTAL QUANTITY |  |  | Total |  | 3054.49 | KG
2 | Providing and fixing iron grill required section of square bars 3/8" as per approved design including welding all sides of the section at the junction and fixing with sunk iron screws painting with two coats of read oxides paint in masonry or concrete .
|  | same sft of window |  |  |  | 32 | SFT
|  | 1 | 32 |  |  | 32 | SFT
| TOTAL QUANTITY |  |  |  |  | 32 | SFT
4 | REINFORCMENT CEMENT CONCRATE IN FOUNDATION WORKS UP TO PLINTH BEAM
1 | Providing and laying in situ cement concrete (1;2;4 cement sand & crush ) using approved coarse sand and crushed aggregate having maximum size upto 3/4" (19mm) and down gauge in foundation including formwork using wooden braces and without wall ties, compaction, curing and removal of formwork
b | FOUNDATION
H/W
1 |  | 21 | 63.5 | 3 | 1 | 4064 | CFT | L/W
2
V/W
1 |  | 6 | 7.25 | 3 | 1 | 217.5 | CFT | S/W
2
| TOTAL QUANTITY |  |  |  |  | 4281.5 | CFT
5 | MASONARY WORKS IN FOUNDATION WORKS
1 | Providing and laying 1:3:6 in situ cement concrete using approved coarse sand and crushed aggregate having maximum size upto 1-1/2 " (38mm) and down gauge in foundation including formwork and its removal, compaction and curing .
b | WALL FOUNDATION
1st step
H/W
| A & B/1-6 | 2 | 60.75 | 1.5 | 1.5 | 273.38 | CFT | L/W
| 0 | 0 | 7.5 | 1.5 | 1.5 | 0 | CFT | 0
V/W
| 1 , 2,3,5 & 6/A-B | 6 | 9.75 | 1.5 | 1.5 | 131.63 | CFT | S/W
| 0 | 0 | 1.88 | 1.5 | 1.5 | 0 | CFT | 0
deduction of colums
| C1 | 8 | 1.5 | 1.5 | 1.5 | -27 | CFT
|  | 2 | 1.5 | 1.5 | 1.5 | -6.75 | CFT
2nd step
H/W
| A & B/1-6 | 2 | 60.38 | 1.125 | 3.75 | 509.41 | CFT | L/W
| 0 | 0 | 7.13 | 1.125 | 3.75 | 0 | CFT | 0
V/W
| 1 , 2,3,5 & 6/A-B | 6 | 10.13 | 1.125 | 3.75 | 256.29 | CFT | S/W
| 0 | 0 | 2.25 | 1.125 | 3.75 | 0 | CFT | 0
deduction of colums
| C1 | 8 | 1.125 | 1.125 | 3.75 | -37.97 | CFT
|  | 2 | 1.125 | 1.125 | 3.75 | -9.49 | CFT
| TOTAL QUANTITY |  |  |  |  | 1089.49 | CFT
2 | Providing and laying in situ cement concrete 1:2:4 cement concrete using crush stone using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in pillars and columns of any shape in foundation including compacting, curing, cost of form-work & its removal in basement and ground floor.
| C1 | 8 | 1.5 | 1.5 | 1.5 | 27 | CFT
| C1 | 2 | 1.5 | 1.5 | 1.5 | 6.75 | CFT
| C2 | 8 | 1.125 | 1.125 | 3.75 | 37.97 | CFT
| C2 | 2 | 1.125 | 1.125 | 3.75 | 9.49 | CFT
| TOTAL QUANTITY |  |  |  |  | 81.21 | CFT
Providing, fabricating and laying deformed Grade 60 steel reinforcement (deformed bar) for all kinds of R.C.C work in foundation, plinth and ground floor including the cost of straightening, removal of rust, cutting, bending, binding, wastage and providing such over-laps as are not shown on the drawings.The cost of binding wire and cement concrete spacer blocks or chairs for binding and holding the reinforcement in position is inclusive upto 15 ft. (5m) height
| PLINTH BAND STEEL |  | BAR BENDING SCHADULE
b | WALL
H/W
1 |  | 2 | 61.38 |  |  | 122.75 | RFT | L/W
2 | 0 | 0 | 7.13 |  |  | 0 | RFT | 0
V/W
1 |  | 6 | 13.38 |  |  | 80.25 | RFT | S/W
2 | 0 | 0 | 4.5 |  |  | 0 | RFT | 0
|  |  | TOTAL IN RFT |  |  | 203 | RFT
|  | 6 | 203 | 1.042 | 0.4536 | 575.69 | KG | 4/8"
|  |  |  | SUB TOTAL (i) |  | 575.69 | KG
Rings in plinth band
| 9" c/c | 271 | 5.82 | 0.375 | 0.4536 | 267.96 | KG | 3/8"
|  |  |  | SUB TOTAL (ii) |  | 267.96 | KG
| TOTAL QUANTITY |  |  | (i+ii) |  | 843.64 | KG
3 | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm.) and down gauge in plinth band, door band and roof band of required shape or section including formwork and its removal, compacting and curing in basement and ground floor but excluding the cost of reinforcement.
b | PLINTH BAND CONCRATE
H/W
1 | A & B/1-6 | 2 | 60.38 | 1.125 | 2 | 271.69 | CFT | L/W
2 | 0 | 0 | 7.13 | 1.125 | 2 | 0 | CFT | 0

## Table 11
BASED ON PREVAILING MARKET RATES
CONSTRUCTION OF MAIN GATE WITH GUARD ROOM
GROUND FLOOR |  |  |  | DETAIL MEASURMENT SHEET
S. No | Description | No | MEASUREMENT |  |  | QTY | UNIT | REMARKS
|  |  | L | B | H/D
V/W
1 | 1 , 2,3,5 & 6/A-B | 6 | 12.25 | 1.125 | 2 | 165.31 | CFT | S/W
2 | 0 | 0 | 2.25 | 1.125 | 2 | 0 | CFT | 0
| TOTAL QUANTITY |  |  |  |  | 437 | CFT
5 | MASONARY WORKS IN FOUNDATION WORKS
1 | Providing and laying 1:3:6 8" (200 mm) thick solid block masonry using 1:4 cement motar Coarse Sand and Approved crushed aggregate 3/4" (19mm) and down gauge in ground floor super-structure including scaffolding, raking out joints and curing.
below door band + above door band
b | WALL
H/W
1 | A & B/1-6 | 2 | 10 | 1.125 | 22 | 495 | CFT | L/W
2 | 0 | 2 | 10.5 | 0.66 | 10 | 138.6 | CFT | 0
V/W
1 | 1 , 2,3,5 & 6/A-B | 5 | 12 | 1.125 | 22 | 1485 | CFT | S/W
2 | 0 | 2 | 4 | 0.66 | 10 | 52.8 | CFT | 0
|  |  |  | sub total A |  | 2171.4 | CFT
DEDUCTION
COLUMNS
| C1 | 8 | 2 | 1 | 22 | 352 | CFT
|  | 2 | 0.75 | 0.66 | 10 | 9.9 | CFT
OPNINGS & DOOR /WINDOWS
DOOR
| D2 | 1 | 3 | 0.66 | 7 | 13.86 | CFT
| D3 | 0 | 2.5 | 0.66 | 7 | 0 | CFT
WINDOWS
| W2 | 2 | 4 | 0.66 | 5 | 26.4 | CFT
VENTILATOR
| V | 0 | 1.5 | 0.66 | 1.5 | 0 | CFT
|  |  |  | sub total B |  | 402.16 | CFT
| TOTAL QUANTITY |  |  | A-B |  | 1769.24 | CFT
6 | REINFORCMENT CEMENT CONCRATE IN SUPER STRUCTER WORKS
1 | Providing and laying in situ cement concrete 1:2:4 cement concrete using crush stone using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in pillars and columns of any shape in foundation including compacting, curing, cost of form-work & its removal in basement and ground floor.
below door band + above door band
| C1 | 8 | 2 | 1.125 | 22 | 396 | CFT
| C2 | 2 | 0.75 | 0.66 | 10 | 9.9 | CFT
| TOTAL QUANTITY |  |  |  |  | 405.9 | CFT
Providing, fabricating and laying deformed Grade 60 steel reinforcement (deformed bar) for all kinds of R.C.C work in foundation, plinth and ground floor including the cost of straightening, removal of rust, cutting, bending, binding, wastage and providing such over-laps as are not shown on the drawings.The cost of binding wire and cement concrete spacer blocks or chairs for binding and holding the reinforcement in position is inclusive upto 15 ft. (5m) height
| DOOR BAND & ROOF BEND STEEL |  | BAR BENDING SCHADULE
b | WALL
H/W
1 |  | 2 | 10.17 |  |  | 20.34 | RFT | L/W
2 | 0 | 2 | 10.5 |  |  | 21 | RFT | 0
V/W
1 |  | 4 | 13 |  |  | 52 | RFT | S/W
2 | 0 | 2 | 9.25 |  |  | 18.5 | RFT | 0
|  |  | TOTAL IN RFT |  |  | 111.84 | RFT
| 4 FOR DOOR BEND | 4 | 111.84 | 1.025 | 0.4536 | 208 | KG | 4/8"
|  |  |  | SUB TOTAL (i) |  | 208 | KG
Rings in door band
|  | 149 | 3 | 0.375 | 0.4536 | 76.1 | KG | 3/8"
|  |  |  | SUB TOTAL (ii) |  | 76.1 | KG
| TOTAL QUANTITY |  |  | (i+ii) |  | 284.09 | KG
2 | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm.) and down gauge in Door band, door band and roof band of required shape or section including formwork and its removal, compacting and curing in basement and ground floor but excluding the cost of reinforcement.
DOOR BEND
b | WALL
H/W
1 |  | 2 | 8 | 1.125 | 1 | 18 | CFT | L/W
2 | 0 | 2 | 10.5 | 0.66 | 0.75 | 10.4 | CFT | 0
V/W
1 |  | 2 | 12 | 1.125 | 1 | 27 | CFT | S/W
2 | 0 | 2 | 7 | 0.66 | 0.75 | 6.93 | CFT | 0
| TOTAL QUANTITY |  |  |  |  | 62.33 | CFT
Providing, fabricating and laying deformed Grade 60 steel reinforcement (deformed bar) for all kinds of R.C.C work in foundation, plinth and ground floor including the cost of straightening, removal of rust, cutting, bending, binding, wastage and providing such over-laps as are not shown on the drawings.The cost of binding wire and cement concrete spacer blocks or chairs for binding and holding the reinforcement in position is inclusive upto 15 ft. (5m) height
BAR BENDING SCHADULE
ROOF BEAMS STEEL
ROOF BEAMS
H/W
1 |  | 4 | 64 |  |  | 256 | RFT | L/W
V/W
1 |  | 6 | 13 |  |  | 78 | RFT | S/W
|  |  |  | TOTAL |  | 334 | RFT
| TOP BARS | 4 | 334 | 0.667 | 0.4536 | 404.21 | KG | 4/8"
| BOTTOM BARS | 4 | 334 | 0.667 | 0.4536 | 404.21 | KG | 4/8"
| RING | 890 | 3.75 | 0.375 | 0.4536 | 567.71 | KG | 4/8"
|  |  |  | TOTAL KG |  | 1376.13 | KG
| TOTAL QUANTITY |  |  |  |  | 1376.13 | KG
4 | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in beams, lintels and cantilevers of required shape or section including formwork and its removal compacting and curing in basement and ground floor.
ROOF BEAMS
H/W
1 |  | 4 | 60 | 1.25 | 1.5 | 450 | CFT | L/W
V/W
1 |  | 6 | 12 | 1.25 | 1.5 | 135 | CFT | S/W
| TOTAL QUANTITY |  |  |  |  | 585 | CFT
5 | Providing and laying 1:2:4 cement concrete using approved coarse sand and crushed aggregate 3/4" (19mm) and down gauge in slabs including formwork and its removal, compacting and curing upto 6" (150 mm) thickness In basement, plinth and ground floor
|  | 1 | 25.5 | 12 | 0.75 | 229.5 | CFT
|  | 1 | 32.5 | 12 | 0.75 | 292.5 | CFT
|  | 1 | 10.5 | 8.5 | 0.5 | 44.63 | CFT
| TOTAL QUANTITY |  |  |  |  | 566.63 | CFT

## Table 12
S. No | Description | No | MEASUREMENT |  |  | QTY | UNIT | REMARKS
|  |  | L | B | H/D
| Providing, fabricating and laying deformed Grade 60 steel reinforcement (deformed bar) for all kinds of R.C.C work in foundation, plinth and ground floor including the cost of straightening, removal of rust, cutting, bending, binding, wastage and providing such over-laps as are not shown on the drawings.The cost of binding wire and cement concrete spacer blocks or chairs for binding and holding the reinforcement in position is inclusive upto 15 ft. (5m) height |  |  | LBS/CFT
| SAME QTY B/F OF ROOF SLAB PROJECTION | 1 | 80 | 10 | 0.4536 | 362.88 | KG
| TOTAL QUANTITY |  |  |  |  | 362.88 | KG
7 | PLASTER WORKS
1 | 13mm ( 1/2") Cement plaster using Coarse Sand 1:4 cement mortar ratio on soffits of ceiling, cantilever slabs, sides and soffits of beams, in basement and ground floor including making edges, corners and curing.
1 | BED ROOM | 1 | 9 | 7 |  | 63 | SFT
5 | MAIN AGTE AREA | 1 | 75 | 14 |  | 1050 | SFT
| TOTAL QUANTITY |  |  |  |  | 1113 | SFT
2 | 3/4 inch (19mm) thick cement plaster using Coarse Sand 1:4 cement mortar ratio on walls and columns in basement, plinth and ground floor including making edges, corners and curing.
| GUARD ROOM | 2 | 8 |  | 10 | 160 | SFT
|  | 2 | 8 |  | 22 | 352 | SFT
|  |  |  | sub total A |  | 512 | SFT
DEDUCTION DOOR/WINDOW/EXTERNAL TILES
DOOR
| D2 | 1 | 3 |  | 7 | 21 | SFT
| D3 | 0 | 2.5 |  | 7 | 0 | SFT
WINDOWS
| W2 | 2 | 4 |  | 4 | 32 | SFT
VENTILATOR
| V1 | 0 | 1.5 |  | 1.5 | 0 | SFT
|  |  |  | sub total B |  | 53 | SFT
|  |  |  | sub total C |  | 0 | SFT
| TOTAL QUANTITY |  |  | (A-B-C) |  | 459 | SFT
3 | 1/2 inch (13mm) thick cement plaster using Coarse Sand 1:4 cement mortar ratio on external walls and olumns in basement, plinth and ground floor including making edges, corners with deep cut groves and curing.
1 | MAIN GATE | 10 | 14 |  | 22 | 616 | SFT
|  | 4 | 12 |  | 22 | 528 | SFT
| GUARD ROOM | 2 | 10.5 |  | 11 | 231 | SFT
|  |  |  | sub total A |  | 1375 | SFT
OPNINGS & DOOR /WINDOWS
DOOR
| D2 | 1 | 3 |  | 7 | 21 | SFT
WINDOWS
| W2 | 2 | 4 |  | 6 | 48 | SFT
VENTILATOR
| V1 | 0 | 1.5 |  | 1.5 | 0 | SFT
|  |  |  | sub total B |  | 69 | SFT
| TOTAL QUANTITY |  |  | a-b-c |  | 1306 | SFT
8 | FLOORING WORKS
1 | Providing and laying hand mixed 1 : 4 : 8 cement concrete bed under floors using graded Crushed Aggregate upto 1-1/2" (37 mm) and down gauge complete with leveling, ramming, watering and curing.
| under floor | 1 | 8 | 8 | 0.25 | 16 | CFT
| TOTAL QUANTITY |  |  |  |  | 16 | CFT
2 | Providing and laying 1:2:4 cement concrete 3" (75 mm) nominal thick flooring using crushed aggrgate 3/4" (19mm) and down gauge in ground floor laid in panels including formwork, consolidation, finishing and curing.
6 | MAIN GATE | 1 | 8 | 8 |  | 15.75 | SFT
| TOTAL QUANTITY |  |  |  |  | 15.75 | SFT
9 | PAINTING WORKS
1 | Painting with ICI/Berger or equivalent plastic emulsion paint of approved shade in two or more coats as per manufacturer's instructions on plastered rendered and/or concrete surface over and including the cost of priming coat ,surface preparation, dusting, rubbing down smooth,filling cracks, holes removing blisters and other blisters and other imperfections in ground floor or basement.(@ atleast 1.65 Litre per10 Sq.m)
| SAME AS QTY OF CEILING PLASTER | 1 | 1113 |  |  | 1113 | SFT
| TOTAL QUANTITY |  |  |  |  | 1113 | SFT
2 | Distempering with Berger, ICI or equivalent synthetic polyvinyl emulsion finish of approved shade in two or more coats over and including the cost of priming coat including preparation of surface viz. dusting, sand papering or rubbing with pumice stone, filling cracks or holes, if any, removing blisters or other imperfections at any height and any floor. (@ atleast 2.20 Litre per 10 Sq.m)
| SAME AS QTY OF INTERNAL PLASTER | 1 | 267 |  |  | 267 | SFT
| TOTAL QUANTITY |  |  |  |  | 267 | SFT
3 | Applying weather resistant paint coating such as ICI weather shield,Berger weather coat or equivalent to interior or exterior walls or ceiling including supplying all labour, materials, scaffoldings and removal of debris etc. @ atleast 3.50 litre per 10
| SAME AS QTY OF EXTERNAL PLASTER | 1 | 1450 |  |  | 1450 | SFT
| TOTAL QUANTITY |  |  |  |  | 1450 | SFT
4 | Painting with ICI/Berger or equivalent super gloss synthetic enamel paint in two or more coats as per manufacturer's instructions on steel and iron work over and including the cost of priming coat, surface preparation, removing rust, scales and dust with wire brush in ground floor or basement. (@ atleast 1.25 Litrer per10 Sq.m)
|  | 4 | 19 |  | 8 | 152 | SFT
| TOTAL QUANTITY |  |  |  |  | 152 | SFT
5 | Painting with ICI/Berger or equivalent super gloss synthetic enamel paint in two or more coats as per manufacturer's instructions on wood work over and including the cost of priming coat, surface preparation, rubbing down smooth, knotted, filling cracks, holes and joints in ground floor or basement. (@ atleast 1.65 Litre per 10 Sq.m) |  |  | BOTH SIDES
FOR DOOR SHUTTERS
3 | D2 | 1 | 3 | 2 | 7 | 42 | SFT
4 | D3 | 0 | 2.5 | 2 | 7 | 0 | SFT
| TOTAL QUANTITY |  |  |  |  | 42 | SFT
11 | WINDOWS & DOOR WORKS
1 | Providing and fixing Flush wood shutters 1.5" (38 mm) thick fully panelled shutters. with same wood and fixed with approved brass hinges and tower bolts.
| D3 | 1 | 3 |  | 7 | 21 | SFT
| D4 | 0 | 2.5 |  | 7 | 0 | SFT
| TOTAL QUANTITY |  |  |  |  | 21 | SFT
2 | Applying french or spirit polish of approved make on wood work in ground floor or basement Two coats (@ atleast 1.65 Litre per 10 Sq.m)
| D3 | 1 | 21 |  |  | 21 | SFT
| TOTAL QUANTITY |  |  |  |  | 21 | SFT
3 | Providing and fixing 38mm (1.1/2") thick superior quailty deodar wood shutter fully wire gauzed with galevinized iron wire gauze of 1.06mm (24 Gauge) and 12 mesh to 25mm (1") with approved brass butt hinges , springs hinges and tower bolts as required
| D1 | 1 | 3 |  | 7 | 21 | SFT
| TOTAL QUANTITY |  |  |  |  | 21 | SFT
5 | Providing and fixing Union lock (Local) with brass or specially supplied screws of approved design including cutting wood to requires shape and size with two operating keys as per direction of the engineer - in- charge.
4 | D3 | 1 | 1 |  |  | 1 | NO
| TOTAL QUANTITY |  |  |  |  | 1 | NO
6 | Providing and fixing approved Chromium plated 5" (125 mm) size heavy duty safety handle with necessary screws of the same metal
3 | D2 | 1 | 2 |  |  | 2 | NO

## Table 13
BASED ON PREVAILING MARKET RATES
CONSTRUCTION OF MAIN GATE WITH GUARD ROOM
GROUND FLOOR |  |  |  | DETAIL MEASURMENT SHEET
S. No | Description | No | MEASUREMENT |  |  | QTY | UNIT | REMARKS
|  |  | L | B | H/D
| TOTAL QUANTITY |  |  |  |  | 2 | NO
7 | Providing and fixing fully glazed single leaf hung/sliding aluminium windows, ventilators (Deluxe model - 1.6mm) of anodized champagne or approved color of Prime, Chawala, Pakistan Cable or any approved section as approved by Engineer incharge including sliding fibre wire gauze in aluminium frame, aluminium fittings, 5 mm local tinted glass, lugs, cutting holes and making good the damages to walls. Providing and fixing fixed or sliding fibre wire gauze in aluminium frame as approved by Engineer incharge including aluminium fittings etc.
WINDOWS
| W1 | 2 | 4 |  | 4 | 32 | SFT
| TOTAL QUANTITY |  |  |  |  | 32 | SFT
8 | Providing and fixing moulded steel door frame 4.5''-5" (113.5mm-125 mm) size of approved profile, manufactured from zinc- coated mild steel sheets 18 gauge made by Shahah Industries or equivalent standard conforming to B.S.S.1245, treated with special primer base paint all round, fitted with six fixing lugs, three steel hinges for fixing door shutters standard lock-strike plate, one sliding holt eye, and three rubber buffers, including cutting holes and making good damages to walls and filling the door frame cavity with lean cement mortar 1:4 as directed by the Engineer Incharge
D2 | ( 3+3+7+7=20) | 1 | 17 |  |  | 17 | RFT
| TOTAL QUANTITY |  |  |  |  | 17 | RFT
9 | Providing and fixing M.S. sheet shutters with 2" x 2" x 1/4"angle iron frame as diagonal braces, gun metal roller and pulleys, angle iron top guides fixed to T-iron bottom track fixed in cement concrete 1:2:4 with rag bolts including locking arrangement and handles as per design and instructions of the Engineer incharge. |  |  |  | 2KG /SFT
| D | 2 | 19 | 8 | 2 | 304 | KG
| TOTAL QUANTITY |  |  |  |  | 304 | KG
12 | MISC WORKS
1 | Providing and fixing Non Asbestos Cement Fibre pipe spouts 3" (75 mm) dia of required length and dia including fixing in cement mortar 1 : 4. |  |  | NO'S
|  | 1 | 10 | 2 |  | 20 | RFT
| TOTAL QUANTITY |  |  |  |  | 20 | RFT

## Table 14
CONSTRUCTION OF MAIN GATE WITH GUARD ROOM
BASED ON PREVAILING MARKET RATES
FIRST FLOOR |  |  |  |  | DETAIL MEASURMENT SHEET
S. No | Description | No | MEASUREMENT |  |  | QTY | UNIT | REMA RKS
|  |  | L | B | H/D
1 | Providing and laying 1:2:4 P.C.C 3" (75mm) nominal thick P.C.C. roof screeding using crushed stone 3/4" (19mm) including formwork, consolidation, finishing and curing
|  | 1 | 10 | 8 |  | 80 | SFT
|  | 1 | 10.5 | 8.5 |  | 89.25 | SFT
| TOTAL QUANTITY |  |  |  |  | 169.25 | SFT
Page 28 of 28