## Table 1
PROJECT TITLE; CONSTRUCTION OF JHAL MAGSI PRIMARY GRAMMAR SCHOOL
EXTERNAL WATER SUPPLY & ELECTRICFICATION
BASED ON PREVAILING MARKET RATES
ENGINEER'S ESTIMATE
S.No | DESCRIPTION OF WORKS | AMOUNT IN PAK. RUPEES
TOTAL COST (RS)
A | MAIN BUILDING WORKS
1 | EXTERNAL SEWEARGE | 0
2 | WATER SUPPLY | 0
3 | ELECTRIFICATION | 0
| GRAND TOTAL | 0
| IN MILLION : | 0
EXT DEVE SEW AND WATER Page 1

## Table 2
EXTERNAL SEWERAGE
S. No | SCHEDULE ITEM | DESCRIPTION OF ITEMS | QUANTITY | UNIT | RATE (RS) | AMOUNT (RS)
1 |  | Excavation in foundation of buildings and bridges including layout, dressing, refilling around structures with excavated earth, watering & ramming lead upto 100 ft. (30m) & lift upto 5 ft. (1.5m)( Shingle or gravel )
| NSR |  | 3800 | CFT | 0 | 0
2 |  | Providing manhole type 'A' size 24" x 18" (inside dimensions) as per approved design and specifications complete for 4" to 12" dia pipes upto 4 ft. (1.2 m) depth with 16" dia. Concrete cover and frame fixed in 4" thick RCC 1:2:4 slab (with 5 lbs per Cu.ft. or 80 kg/Cu.m of steel), 6" (150 mm) thick 1:2:4 cement concrete, 6" thick 1:3:6 cement concrete in foundation, 4" av. thickness 1:2:4 cement concrete in benching and benching including making requisite number of main and branch channels but excluding the cost of excavation, back filling and disposal of excavated stuff.
| NSR |  | 8 | EACH | 0 | 0
3 |  | Providing manhole type 'B' size 36" x 30" (inside dimensions) x 48" deep as per approved design and specifications complete for 4" to 12" dia. pipe 4ft to 7' 6" depth with 18" dia (inside) Concrete cover and frame fixed in 6" thick RCC 1:2:4 slab with 5 lbs. per Cu.ft steel and Concrete walls,6" thick 1:3:6 cement concrete foundation, 4" av. thick 1:2:4 cement concrete in benching to all inner wall surfaces, channels and benching including providing and making requisite number of main and branch channels but excluding the cost of excavation, back filling, disposal of excavated stuff.
| NSR |  | 5 | EACH | 0 | 0
4 |  | Extra for using C.I. cover and frame 18" dia. Inside and weighing 89 kg for main roads.
| NSR |  | 5 | EACH | 0 | 0
5 |  | Providing and fixing gulley trap with 4" (100mm) outlet, complete with 4" (100mm) thick 1:2:4 cement concrete using 3/4" (19mm) crushed aggregate for bed and kerb, 1/2" (13mm) thick cement plaster 1:3, 12"x12"x18" deep inside dimension chamber with C.I. grating 6"x6" cover and frame 12"x12 Cement concrete gulley trap 6" x 6" x 4" (150 x 150 x 100 mm) with C.I. cover and frame weighing not less than 10 kg.
| NSR |  | 12 | EACH | 0 | 0
6 |  | Earthwork excavation in irrigation channels drains etc.to Shingle or gravel formation designed section, grades and profiles excavated material disposed off and dressed within 50 ft (15m) lead.
| NSR |  | 450 | CFT | 0 | 0
0
Page 2 of 5

## Table 3
S. No | SCHEDULE ITEM | DESCRIPTION OF ITEMS | QUANTIT Y | UNIT | RATE (RS) | AMOUNT (RS)
7 |  | Providing and laying R.C.C pipe 12" inner Dia with bell & spigot or tongued & grooved joint conforming to ASTM C-76 class II wall B or BS 3911 Part I class M including cost of reinforcement cement concrete 1:1.5:3 with spigot socket or collar joint as specified in trenches to correct alignment and grade, jointing with jointing materials including cutting pipes where necessary, finishing and testing.
| NSR |  | 600 | RFT | 0 | 0
8 |  | Providing and laying R.C.C pipe 9" inner Dia with bell & spigot or tongued & grooved joint conforming to ASTM C-76 class II wall B or BS 3911 Part I class M including cost of reinforcement cement concrete 1:1.5:3 with spigot socket or collar joint as specified in trenches to correct alignment and grade, jointing with jointing materials including cutting pipes where necessary, finishing and testing.
| NSR |  | 600 | RFT | 0 | 0
0
Sub Total in Rs. | [5 empty] | 0
Page 3 of 5

## Table 4
EXTERNAL WATER SUPPLY
Item No. | REF. Nos CH/ITEM | Description of Items | Unit | Qty | Rate (Rs.) | Amount (Rs.)
1 | NSR | Excavation of trenches for water supply pipe lines upto 5 ft. (1.5m) depth from ground level, including trimming, dressing sides, levelling the beds of trenches to correct grade and cutting pits for joints, etc. complete in all respects including cost of back filling. i) Ordinary soil
|  | 90mm dia Hdpe | Cft | 1875 | 0 | 0
|  | 125mm dia Hdpe | Cft | 450 | 0 | 0
|  | 160mm dia Hdpe | Cft | 2100 | 0 | 0
2 | NSR | Rehandling of earthwork a) Lead upto a single throw of Kassi, phaorah or shovel | Cft | 4425 | 0 | 0
3 | NSR | Manual (Maximium Area 250 Sft) Compaction of earthwork a) Mixing, moisturing earth to optimum moisture content in layers for compaction. | Cft | 4425 | 0 | 0
4 | NSR | Supplying and filling sand under floor or plugging in wells.with lead upto 800 ft (250m) | Cft | 1750 | 0 | 0
5 | NSR | Providing chambers 30" x 18" x 56" as per approved design for sluice valve 3" to 12" dia. with 18" dia. C.I. cover and frame weighing 88.9 Kg. fixed in 4" thick R.C.C. 1:2:4 slab with re-steel 5 lbs./cu.ft and 9" thick burnt brick masonry walls in 1:6 cement sand mortar, 6" thick cement concrete 1:3:6 in foundation, 1" thick concrete 1:2:4 flooring, 1/2" thick plaster in 1:3 cement sand mortar to all inner wall surfaces, including providing anf fixing C.I. foot rest at every 12" beyond 30" depth including curing, excavation, back filling and disposal of surplus earth. | Each | 5 | 0 | 0
6 | NSR | Providing and fixing fire hydrants standard pattern 3" (75mm) dia. Inlet and 2.5" (65mm) dia screw outlet. BSS quality and weight, cost of Jointing material is included. | Each | 5 | 0 | 0
7 | NSR | Providing and fixing air valve 2.5" (65 mm) inner dia.of BSS quality and weight, cost of Jointing material is included. b) Double | Each | 6 | 0 | 0
8 | NSR | Providing, laying, cutting, jointing, testing and disinfecting HDPE pipes density 700-960 kg/cu.m and carbon black contants > 2% with DIN- 8074, 8075 or PS- 3580:1997(rev.) ISO 9001-2000 pressure classification of PE -100 (black) for water PN-10, complete in all respects with specials and valves etc. including all fittings, connnections and jointing material
| NSR | 90mm dia | Rft | 700 | 0 | 0
|  | 125mm dia | Rft | 800 | 0 | 0
|  | 160mm dia | Rft | 400 | 0 | 0
| Total "A"(Schedule items) C/o to Summary of Cost: |  |  |  |  | 0
EXT WATER SUPPLY

## Table 5
CONSTRUCTION OF STREET LIGHTINGS & EXTERNAL ELECTRIFICATION
S.NO | DESCRIPTION | QUANTITY | UNITS | RATE | AMOUNT
STREET LIGHTING
1 | Supply and installation of Galvanised steel Tueler pole (double arms) for street light 32 ft hight with base plate,anchor bolts complete in all respect alone with foundation for the pole.
(N.S.R)
| ( Single Arms ) | 10 | No.s | 0 | 0
2 | Supply and installation of HRC 511 light with 250 watts sodium balub (philips made) balast &p.f correction capactors etc complete in all
| (N.S.R) | 6 | No.s | 0 | 0
3 | Supply and installation of 16mm 4 core service electrical wire in PVC conduit.
| (N.S.R) | 260 | RFT | 0 | 0
4 | Supply and installation and commissioning of
| (N.S.R) | 1 | No.s | 0 | 0
5 | Supply and installation sun switch and distribution box with all necessary items
| (N.S.R.) | 1 | No.s | 0 | 0
6 | Supply and installation of 3 core 70mm wire from electric pole to transformer..
| (N.S.R) | 50 | RFT | 0 | 0
7 | Supply and installation of pair pf earth electrode each consisting of 4m. (13.12ft) long 50mm (2") dia galvanised steel pipe having 10mm (0.4") dia hole at 500mm (20") c/c distance all along the length of pipe buried 4.5 m (14.75 ft) 600mm x 3mm (24"x 0.1
| (N.S.R) | 1 | Job | 0 | 0
Instalation of Wapda Main Main Line & Main Transformer for all buildings of Center.
| (N.S.R.) | 1 | job | 0 | 0
Total TOTAL AMOUNT |  |  |  |  | 0